## Slide 1
Shaping Future India
End-Term Examination Project: Computer Vision using Python

## Slide 2: Team 4: Wound Healing Assessment from Smartphone Images
Design a mobile-friendly model that segments chronic wounds, measures area/perimeter, and classifies healing stages from patient-submitted photos.
Desai Ajay (20252001)
Anuj N Soni (20252004)
Antala Raj (20252036)
Vansh Shah (20252050)
Vishakha Chauhan (20252053)
Course: PGDM in Artificial Intelligence & Data Science
Year: 2025-27

## Slide 3: Problem Statement
Manual measurement is inaccurate and inconsistent
High inter-observer variability (~40%)
Requires clinical expertise
Not scalable for remote healthcare / telemedicine
Deep learning solutions:
  Require large labeled datasets
  Lack interpretability (black-box models)
No accurate, automated, and explainable system for wound analysis from smartphone images

## Slide 4: Proposed Hybrid AI System
We designed a system that accepts smartphone images
Performs:
  Image preprocessing
  Wound segmentation
  Measurement (area & perimeter)
  Healing stage classification
Core Idea: Combines
  Computer Vision (OpenCV) + Image Processing (PIL) + Deep Learning (PyTorch)
Flexible System:
  Works even without training data (CV mode)
  Can upgrade to Deep Learning (trained models)

## Slide 5: Technology Stack
Programming
Libraries
Deep Learning
  Python
  OpenCV
  NumPy
  PIL
  Scikit-image
  PyTorch
  EfficientNet-B0 (classification)
  Attention U-Net
  DeepLabV3 (segmentation)

## Slide 6: System Pipeline Overview
Instead of relying on a black-box Neural Network, our application uses a highly interpretable, Unsupervised Machine Learning and Heuristic Computer Vision approach. This means the algorithm actively calculates biological color logic on the fly.
01
Gaussian Filter
+ Color Space
GaussianBlur
HSV + LAB
02
K-Means++
Clustering
cv2.kmeans
k=4 clusters
03
Morphological
Refinement
MORPH_OPEN
MORPH_CLOSE
04
Contour
Measurement
findContours
contourArea
05
Diagnosis
+ Overlay
Heuristic
addWeighted

## Slide 7: Stage 1: GAUSSIAN FILTERING & DUAL COLOR SPACE TRANSFORMATION
cv2.GaussianBlur — Noise Reduction
• Removes microscopic camera sensor noise
• Eliminates specular reflections (sweat, exudate)
• Prevents pixel noise being mistaken for wound boundaries
• Preserves structural wound edges for contour detection
HSV — Skin Isolation
cv2.threshold on Saturation channel
• High Saturation = skin/tissue (keep)
• Low Saturation = white sheets, tables (discard)
Result: Isolated hand/limb region only
CIELAB Color Space — Biological Tissue Discrimination (The Core Innovation)
L* Channel
Luminance / Darkness
Dark eschar & necrotic tissue
have low L* values
a* Channel
RED ←→ GREEN axis
Direct marker for blood,
inflammation & hemoglobin
b* Channel
YELLOW ←→ BLUE axis
Identifies fibrin slough
and necrotic tissue

## Slide 8: Stage 2: K-MEANS++ UNSUPERVISED CLUSTERING
The Algorithm
Inside the isolated hand area, the app runs *cv2.kmeans* (specifically using the highly stabilized KMEANS_PP_CENTERS initialization).
Clustering
It forces all the pixels in the skin area to mathematically group themselves into exactly 4 dominant color families (Clusters).
Biological Anomaly Detection
Once the 4 clusters are generated, the app evaluates them using a custom biological scoring formula. It actively searches for the cluster that is the most intensely *Red* (high 'a') and the *Darkest* (low 'l'). It definitively labels the winning cluster as the "Wound Mask".

## Slide 9: Stage 3: MORPHOLOGICAL REFINEMENT
MORPH_OPEN — Noise Scrubbing
Operation: Erosion → Dilation
• Removes red freckles and moles on healthy skin
• Eliminates blood vessel artifacts at periphery
• Clears single-pixel misclassification noise
• Structures smaller than kernel are fully erased
MORPH_CLOSE — Gap Filling
Operation: Dilation → Erosion
• Fills holes from reflective wound exudate
• Bridges scar tissue gaps inside wound bed
• Creates one contiguous medically valid mask
• Holes smaller than kernel are completely filled

## Slide 10: Stage 4: GEOMETRIC CONTOUR EXTRACTION
cv2.findContours
Traces exact outer wound boundary using RETR_EXTERNAL mode. Returns microscopic contour point array.
cv2.contourArea
Computes pixel count enclosed within contour via Green's theorem on contour coordinates.
cv2.arcLength
Sums Euclidean distances between consecutive contour points to measure perimeter in pixels.
Physical Conversion
area_cm² = pixels/(45²)
perimeter_cm = pixels/45
Calibrated from reference marker.

## Slide 11: Stage 5: HEURISTIC DIAGNOSIS & ALPHA-BLEND VISUAL OVERLAY
Alpha-Blend Visual Overlay — cv2.addWeighted(overlay, 0.4, original, 0.6, 0)
drawContours
3px bright green boundary line around exact wound perimeter
fillPoly
Neon-green fill on separate overlay layer covering wound interior
addWeighted
0.4 + 0.6
Alpha blend: 40% green overlay + 60% original image
Clinical
Transparency
Clinician sees exact analyzed region — not a black-box result
Heuristic Fallback: Based on exactly how massive the contour area is, the CV engine utilizes strict logical bounds to diagnose the severity and current healing stage of the wound, dynamically generating a 0-100% confidence percentage metric.

## Slide 12: LIVE SYSTEM RESULTS - APPLICATION SCREENSHOTS
TEST CASE 1 — Palm Wound
Location
Palm of hand
Total Area
0.31 cm²
Perimeter
3.03 cm
Healing Stage
HEALED ✓
Confidence
75.89%
Mask
Neon-green overlay

## Slide 13: LIVE SYSTEM RESULTS - APPLICATION SCREENSHOTS
TEST CASE 2 — Elbow Wound
Location
Elbow region
Total Area
1.77 cm²
Perimeter
5.98 cm
Healing Stage
HEALING ~
Confidence
91.54%
Mask
Neon-green overlay

## Slide 14
Demo Video

## Slide 15: Advantages
Works without large labeled training datasets
Provides interpretable and transparent visual analysis results
Fast processing suitable for real-time applications
Scalable solution for remote healthcare and telemedicine
Flexible integration with deep learning models

## Slide 16: LIMITATIONS
Performance affected by poor lighting and image quality
Requires calibration for accurate real-world measurements
Current system uses partially simulated model outputs
Limited availability of diverse medical training datasets
May struggle with complex or overlapping wound regions

## Slide 17: CONCLUSION
Developed hybrid system combining computer vision and AI
Enables automated wound detection, measurement, and classification
Provides interpretable results suitable for medical decision support
Scalable approach for future telemedicine applications
Strong foundation for integrating advanced deep learning models

## Slide 18
Thank You
Thank You